## Combined Calibration
Test Set_Input | Center Frequency (GHz) | Set Power (dBm)_Input | Measured Power at DUT (dBm) | Measured Power at Input Coupled Port (dBm) | VSG Offset (dB) | xxxInput Power Offset (dB) | Input Power Offset (dB) | VSG Config Time (s)_Input | NRX Measure Time (s)_Input | Test Set_Output | Set Power (dBm)_Output | Measured Power at VSA (dBm) | Measured Power at Output Coupled Port (dBm) | xxxVSA Offset (dB) | xxxVSA Offset (dB) | VSA Offset (dB) | xxxOutput Power Offset (dB) | Output Power Offset (dB) | VSG Config Time (s)_Output | NRX Measure Time (s)_Output
1 | 2 | 0 | -1.442 | -17.325 | 1.442 | 17.325 | 18.767 | 0.16 | 0.205 | 1 | 0 | -1.627 | -10.218 | 1.627 | 3.069 | 4.511 | 10.218 | 13.287 | 0.162 | 0.211
2 | 2.05 | 0 | -1.451 | -17.457 | 1.451 | 17.457 | 18.908 | 0.665 | 0.203 | 2 | 0 | -1.605 | -10.308 | 1.605 | 3.056 | 4.507 | 10.308 | 13.364 | 0.613 | 0.215
3 | 2.1 | 0 | -1.466 | -17.573 | 1.466 | 17.573 | 19.039 | 0.612 | 0.225 | 3 | 0 | -1.634 | -10.528 | 1.634 | 3.1 | 4.566 | 10.528 | 13.628 | 0.611 | 0.197
4 | 2.15 | 0 | -1.455 | -17.639 | 1.455 | 17.639 | 19.094 | 0.613 | 0.205 | 4 | 0 | -1.614 | -10.779 | 1.614 | 3.069 | 4.524 | 10.779 | 13.848 | 0.612 | 0.206
5 | 2.2 | 0 | -1.487 | -17.715 | 1.487 | 17.715 | 19.202 | 0.61 | 0.208 | 5 | 0 | -1.579 | -11.035 | 1.579 | 3.066 | 4.553 | 11.035 | 14.101 | 0.611 | 0.207
6 | 2.25 | 0 | -1.516 | -17.744 | 1.516 | 17.744 | 19.26 | 0.663 | 0.205 | 6 | 0 | -1.608 | -11.331 | 1.608 | 3.124 | 4.64 | 11.331 | 14.455 | 0.611 | 0.207
7 | 2.3 | 0 | -1.484 | -17.671 | 1.484 | 17.671 | 19.155 | 0.662 | 0.196 | 7 | 0 | -1.586 | -11.492 | 1.586 | 3.07 | 4.554 | 11.492 | 14.562 | 0.673 | 0.216
8 | 2.35 | 0 | -1.471 | -17.589 | 1.471 | 17.589 | 19.06 | 0.662 | 0.196 | 8 | 0 | -1.569 | -11.541 | 1.569 | 3.04 | 4.511 | 11.541 | 14.581 | 0.612 | 0.215
9 | 2.4 | 0 | -1.554 | -17.569 | 1.554 | 17.569 | 19.123 | 0.611 | 0.196 | 9 | 0 | -1.678 | -11.571 | 1.678 | 3.232 | 4.786 | 11.571 | 14.803 | 0.613 | 0.208
10 | 2.45 | 0 | -1.539 | -17.435 | 1.539 | 17.435 | 18.974 | 0.662 | 0.196 | 10 | 0 | -1.606 | -11.297 | 1.606 | 3.145 | 4.684 | 11.297 | 14.442 | 0.664 | 0.205
11 | 2.5 | 0 | -1.522 | -17.294 | 1.522 | 17.294 | 18.816 | 0.674 | 0.204 | 11 | 0 | -1.657 | -11.07 | 1.657 | 3.179 | 4.701 | 11.07 | 14.249 | 0.613 | 0.205
12 | 2.55 | 0 | -1.528 | -17.172 | 1.528 | 17.172 | 18.7 | 0.611 | 0.206 | 12 | 0 | -1.722 | -10.83 | 1.722 | 3.25 | 4.778 | 10.83 | 14.08 | 0.611 | 0.207
13 | 2.6 | 0 | -1.566 | -17.101 | 1.566 | 17.101 | 18.667 | 0.611 | 0.206 | 13 | 0 | -1.74 | -10.573 | 1.74 | 3.306 | 4.872 | 10.573 | 13.879 | 0.662 | 0.206
14 | 2.65 | 0 | -1.561 | -17.012 | 1.561 | 17.012 | 18.573 | 0.611 | 0.206 | 14 | 0 | -1.752 | -10.37 | 1.752 | 3.313 | 4.874 | 10.37 | 13.683 | 0.61 | 0.198
15 | 2.7 | 0 | -1.569 | -16.96 | 1.569 | 16.96 | 18.529 | 0.663 | 0.205 | 15 | 0 | -1.796 | -10.288 | 1.796 | 3.365 | 4.934 | 10.288 | 13.653 | 0.663 | 0.205
16 | 2.75 | 0 | -1.612 | -16.978 | 1.612 | 16.978 | 18.59 | 0.664 | 0.204 | 16 | 0 | -1.804 | -10.269 | 1.804 | 3.416 | 5.028 | 10.269 | 13.685 | 0.611 | 0.199
17 | 2.8 | 0 | -1.621 | -16.994 | 1.621 | 16.994 | 18.615 | 0.663 | 0.205 | 17 | 0 | -1.817 | -10.366 | 1.817 | 3.438 | 5.059 | 10.366 | 13.804 | 0.662 | 0.206
18 | 2.85 | 0 | -1.601 | -17.016 | 1.601 | 17.016 | 18.617 | 0.663 | 0.205 | 18 | 0 | -1.847 | -10.57 | 1.847 | 3.448 | 5.049 | 10.57 | 14.018 | 0.662 | 0.208
19 | 2.9 | 0 | -1.636 | -17.12 | 1.636 | 17.12 | 18.756 | 0.663 | 0.205 | 19 | 0 | -1.746 | -10.715 | 1.746 | 3.382 | 5.018 | 10.715 | 14.097 | 0.662 | 0.208
20 | 2.95 | 0 | -1.673 | -17.253 | 1.673 | 17.253 | 18.926 | 0.663 | 0.205 | 20 | 0 | -1.825 | -11.08 | 1.825 | 3.498 | 5.171 | 11.08 | 14.578 | 0.662 | 0.207
21 | 3 | 0 | -1.635 | -17.332 | 1.635 | 17.332 | 18.967 | 0.612 | 0.206 | 21 | 0 | -1.802 | -11.339 | 1.802 | 3.437 | 5.072 | 11.339 | 14.776 | 0.662 | 0.205
22 | 3.05 | 0 | -1.711 | -17.535 | 1.711 | 17.535 | 19.246 | 0.611 | 0.206 | 22 | 0 | -1.802 | -11.565 | 1.802 | 3.513 | 5.224 | 11.565 | 15.078 | 0.662 | 0.217
23 | 3.1 | 0 | -1.74 | -17.693 | 1.74 | 17.693 | 19.433 | 0.612 | 0.206 | 23 | 0 | -1.834 | -11.714 | 1.834 | 3.574 | 5.314 | 11.714 | 15.288 | 0.61 | 0.208
24 | 3.15 | 0 | -1.723 | -17.797 | 1.723 | 17.797 | 19.52 | 0.613 | 0.205 | 24 | 0 | -1.856 | -11.715 | 1.856 | 3.579 | 5.302 | 11.715 | 15.294 | 0.663 | 0.216
25 | 3.2 | 0 | -1.738 | -17.911 | 1.738 | 17.911 | 19.649 | 0.662 | 0.207 | 25 | 0 | -1.872 | -11.576 | 1.872 | 3.61 | 5.348 | 11.576 | 15.186 | 0.61 | 0.21
26 | 3.25 | 0 | -1.751 | -17.995 | 1.751 | 17.995 | 19.746 | 0.662 | 0.204 | 26 | 0 | -1.898 | -11.354 | 1.898 | 3.649 | 5.4 | 11.354 | 15.003 | 0.664 | 0.205
27 | 3.3 | 0 | -1.754 | -18.04 | 1.754 | 18.04 | 19.794 | 0.663 | 0.205 | 27 | 0 | -1.93 | -11.087 | 1.93 | 3.684 | 5.438 | 11.087 | 14.771 | 0.662 | 0.197
28 | 3.35 | 0 | -1.781 | -18.057 | 1.781 | 18.057 | 19.838 | 0.663 | 0.205 | 28 | 0 | -1.955 | -10.815 | 1.955 | 3.736 | 5.517 | 10.815 | 14.551 | 0.61 | 0.208
29 | 3.4 | 0 | -1.76 | -17.997 | 1.76 | 17.997 | 19.757 | 0.664 | 0.204 | 29 | 0 | -2.008 | -10.623 | 2.008 | 3.768 | 5.528 | 10.623 | 14.391 | 0.611 | 0.207
30 | 3.45 | 0 | -1.801 | -17.963 | 1.801 | 17.963 | 19.764 | 0.663 | 0.204 | 30 | 0 | -2.043 | -10.496 | 2.043 | 3.844 | 5.645 | 10.496 | 14.34 | 0.662 | 0.217
31 | 3.5 | 0 | -1.804 | -17.864 | 1.804 | 17.864 | 19.668 | 0.664 | 0.204 | 31 | 0 | -2.035 | -10.422 | 2.035 | 3.839 | 5.643 | 10.422 | 14.261 | 0.611 | 0.207
32 | 3.55 | 0 | -1.807 | -17.751 | 1.807 | 17.751 | 19.558 | 0.664 | 0.204 | 32 | 0 | -2.062 | -10.477 | 2.062 | 3.869 | 5.676 | 10.477 | 14.346 | 0.662 | 0.207
33 | 3.6 | 0 | -1.851 | -17.673 | 1.851 | 17.673 | 19.524 | 0.667 | 0.211 | 33 | 0 | -2.076 | -10.62 | 2.076 | 3.927 | 5.778 | 10.62 | 14.547 | 0.663 | 0.216
34 | 3.65 | 0 | -1.852 | -17.557 | 1.852 | 17.557 | 19.409 | 0.664 | 0.203 | 34 | 0 | -2.045 | -10.794 | 2.045 | 3.897 | 5.749 | 10.794 | 14.691 | 0.663 | 0.206
35 | 3.7 | 0 | -1.86 | -17.469 | 1.86 | 17.469 | 19.329 | 0.663 | 0.205 | 35 | 0 | -2.046 | -11.052 | 2.046 | 3.906 | 5.766 | 11.052 | 14.958 | 0.663 | 0.206
36 | 3.75 | 0 | -1.884 | -17.418 | 1.884 | 17.418 | 19.302 | 0.663 | 0.205 | 36 | 0 | -2.03 | -11.308 | 2.03 | 3.914 | 5.798 | 11.308 | 15.222 | 0.663 | 0.208
37 | 3.8 | 0 | -1.89 | -17.374 | 1.89 | 17.374 | 19.264 | 0.664 | 0.204 | 37 | 0 | -2.025 | -11.541 | 2.025 | 3.915 | 5.805 | 11.541 | 15.456 | 0.663 | 0.214
38 | 3.85 | 0 | -1.902 | -17.367 | 1.902 | 17.367 | 19.269 | 0.662 | 0.206 | 38 | 0 | -2.02 | -11.687 | 2.02 | 3.922 | 5.824 | 11.687 | 15.609 | 0.664 | 0.205
39 | 3.9 | 0 | -1.947 | -17.425 | 1.947 | 17.425 | 19.372 | 0.662 | 0.216 | 39 | 0 | -2.034 | -11.745 | 2.034 | 3.981 | 5.928 | 11.745 | 15.726 | 0.662 | 0.206
40 | 3.95 | 0 | -1.963 | -17.485 | 1.963 | 17.485 | 19.448 | 0.662 | 0.206 | 40 | 0 | -2.068 | -11.663 | 2.068 | 4.031 | 5.994 | 11.663 | 15.694 | 0.663 | 0.196
41 | 4 | 0 | -1.929 | -17.519 | 1.929 | 17.519 | 19.448 | 0.663 | 0.205 | 41 | 0 | -2.078 | -11.471 | 2.078 | 4.007 | 5.936 | 11.471 | 15.478 | 0.664 | 0.207
42 | 4.05 | 0 | -1.941 | -17.62 | 1.941 | 17.62 | 19.561 | 0.663 | 0.205 | 42 | 0 | -2.134 | -11.25 | 2.134 | 4.075 | 6.016 | 11.25 | 15.325 | 0.613 | 0.205
43 | 4.1 | 0 | -2.002 | -17.784 | 2.002 | 17.784 | 19.786 | 0.662 | 0.206 | 43 | 0 | -2.137 | -10.965 | 2.137 | 4.139 | 6.141 | 10.965 | 15.104 | 0.611 | 0.207
44 | 4.15 | 0 | -1.965 | -17.867 | 1.965 | 17.867 | 19.832 | 0.664 | 0.203 | 44 | 0 | -2.181 | -10.774 | 2.181 | 4.146 | 6.111 | 10.774 | 14.92 | 0.664 | 0.204
45 | 4.2 | 0 | -1.957 | -17.979 | 1.957 | 17.979 | 19.936 | 0.662 | 0.206 | 45 | 0 | -2.271 | -10.662 | 2.271 | 4.228 | 6.185 | 10.662 | 14.89 | 0.611 | 0.218
46 | 4.25 | 0 | -1.985 | -18.116 | 1.985 | 18.116 | 20.101 | 0.662 | 0.206 | 46 | 0 | -2.214 | -10.501 | 2.214 | 4.199 | 6.184 | 10.501 | 14.7 | 0.611 | 0.208
47 | 4.3 | 0 | -1.993 | -18.216 | 1.993 | 18.216 | 20.209 | 0.662 | 0.206 | 47 | 0 | -2.254 | -10.517 | 2.254 | 4.247 | 6.24 | 10.517 | 14.764 | 0.612 | 0.206
48 | 4.35 | 0 | -1.98 | -18.267 | 1.98 | 18.267 | 20.247 | 0.663 | 0.205 | 48 | 0 | -2.263 | -10.581 | 2.263 | 4.243 | 6.223 | 10.581 | 14.824 | 0.611 | 0.207
49 | 4.4 | 0 | -1.996 | -18.312 | 1.996 | 18.312 | 20.308 | 0.663 | 0.205 | 49 | 0 | -2.239 | -10.698 | 2.239 | 4.235 | 6.231 | 10.698 | 14.933 | 0.663 | 0.208
50 | 4.45 | 0 | -2.027 | -18.333 | 2.027 | 18.333 | 20.36 | 0.61 | 0.207 | 50 | 0 | -2.236 | -10.904 | 2.236 | 4.263 | 6.29 | 10.904 | 15.167 | 0.663 | 0.215
51 | 4.5 | 0 | -2.022 | -18.281 | 2.022 | 18.281 | 20.303 | 0.663 | 0.205 | 51 | 0 | -2.25 | -11.146 | 2.25 | 4.272 | 6.294 | 11.146 | 15.418 | 0.663 | 0.206
52 | 4.55 | 0 | -2.029 | -18.213 | 2.029 | 18.213 | 20.242 | 0.663 | 0.195 | 52 | 0 | -2.223 | -11.348 | 2.223 | 4.252 | 6.281 | 11.348 | 15.6 | 0.664 | 0.216
53 | 4.6 | 0 | -2.1 | -18.185 | 2.1 | 18.185 | 20.285 | 0.663 | 0.195 | 53 | 0 | -2.188 | -11.471 | 2.188 | 4.288 | 6.388 | 11.471 | 15.759 | 0.664 | 0.214
54 | 4.65 | 0 | -2.023 | -18.001 | 2.023 | 18.001 | 20.024 | 0.612 | 0.205 | 54 | 0 | -2.27 | -11.621 | 2.27 | 4.293 | 6.316 | 11.621 | 15.914 | 0.664 | 0.205
55 | 4.7 | 0 | -2.089 | -17.956 | 2.089 | 17.956 | 20.045 | 0.665 | 0.203 | 55 | 0 | -2.252 | -11.566 | 2.252 | 4.341 | 6.43 | 11.566 | 15.907 | 0.664 | 0.205
56 | 4.75 | 0 | -2.169 | -17.929 | 2.169 | 17.929 | 20.098 | 0.663 | 0.215 | 56 | 0 | -2.271 | -11.432 | 2.271 | 4.44 | 6.609 | 11.432 | 15.872 | 0.665 | 0.213
57 | 4.8 | 0 | -2.102 | -17.769 | 2.102 | 17.769 | 19.871 | 0.663 | 0.205 | 57 | 0 | -2.3 | -11.256 | 2.3 | 4.402 | 6.504 | 11.256 | 15.658 | 0.664 | 0.205
58 | 4.85 | 0 | -2.083 | -17.671 | 2.083 | 17.671 | 19.754 | 0.664 | 0.204 | 58 | 0 | -2.308 | -11.003 | 2.308 | 4.391 | 6.474 | 11.003 | 15.394 | 0.665 | 0.203
59 | 4.9 | 0 | -2.201 | -17.731 | 2.201 | 17.731 | 19.932 | 0.664 | 0.205 | 59 | 0 | -2.349 | -10.811 | 2.349 | 4.55 | 6.751 | 10.811 | 15.361 | 0.665 | 0.203
60 | 4.95 | 0 | -2.136 | -17.636 | 2.136 | 17.636 | 19.772 | 0.664 | 0.204 | 60 | 0 | -2.375 | -10.63 | 2.375 | 4.511 | 6.647 | 10.63 | 15.141 | 0.665 | 0.204
61 | 5 | 0 | -2.155 | -17.65 | 2.155 | 17.65 | 19.805 | 0.663 | 0.205 | 61 | 0 | -2.408 | -10.534 | 2.408 | 4.563 | 6.718 | 10.534 | 15.097 | 0.664 | 0.204